## Slide 1
cDPC Algorithm
Objective
Lens
Tube
Lens
cDPC
Filter
Existing Microscope
Condenser
Lens
Existing Illumination Pathway
Broadband
Lamp
Color
Camera
Sample
c.)
Phase Contrast
Quantitative Amplitude and Phase
Demosaiced Image
Red Channel
Green Channel
Blue Channel
1.6
0.6
Absorption (a.u)
Phase (radians)
c)
d)
Rendering
Prototype
14
0
a)
b)
Phase Cutline
Position (μm)
Phase (rad)
Expected
Measured

## Slide 2
Image
Filter
Quantitative
Phase
14
0
rad

## Slide 3
a.u.
a.u.
Signal Spectrum After Bayer Filter
Source
Amplitude Transfer
Function ()
Phase Transfer
Function ()
Red
Green
Blue

## Slide 4
Z = 0mm
Raw Camera Measurements
Recovered Optical Field
0.5
1.5
20µm
Amplitude
0.0
3.0
20µm
Phase (rad)
Source
Coherent
Source
Z = 31mm
Z = -31mm
*Nonlinear
spacing
Through-focus
(14 Images)
RGB
Green Channel
Red Channel
Blue Channel
0.5
1.5
20µm
Amplitude
0.0
3.0
20µm
Phase (rad)
Color LED Array
cDPC (ours)
(1 Image)
Top
Right
Bottom
Left
0.5
1.5
20µm
Amplitude
0.0
3.0
20µm
Phase (rad)
LED Array
Monochromatic
DPC (4 Images)

## Slide 5
Phase Contrast + DIC Comparison
HEK293 Cells (20x, 0.4NA)
Differential Interference Contrast
Phase Contrast
SCALE BARS
100μm
*20x,0.75NA
100μm
100μm
100μm
Ground Truth
Synthesized
Notes: Scale bars

## Slide 6
COS7 Cells
20x / 0.4NA
c. elegans
10x / 0.25NA
Micro-Lens Array
4x / 0.1NA
50μm
200μm
200 μm
0
23
0
2.7
0
16
RGB Composite
Amplitude (a.u)
Phase (rad)
0.7
1.4
0.7
1.3
0.9
1.1
0
3.7
1.0
1.2
MCF7 Cells
20x / 0.4NA
50μm
Raw Images
Recovered Complex Field
Notes: Colorbars
BGS contrast

## Slide 7
Top
Bottom
Right
Left
Raw Data
Results
RGB
Red
Green
Blue
Amp
Phase
Amp
Phase
a.u.
a.u.
Radians
Radians
100𝜇m
100𝜇m
100𝜇m
100𝜇m
100𝜇m
100𝜇m
100𝜇m
100𝜇m